CATEGORY 0 - NUCLEAR MATERIALS, FACILITIES, AND EQUIPMENT

0A	Systems, Equipment and Components

0A001	"Nuclear reactors" and specially designed or prepared equipment and components therefor, as follows:

a.	"Nuclear reactors" capable of operation so as to maintain a controlled self-sustaining fission chain reaction;

b.	Metal vessels, or major shop-fabricated parts therefor, specially designed or prepared to contain the core of a "nuclear reactor", including the reactor vessel head for a reactor pressure vessel;

c.	Manipulative equipment specially designed or prepared for inserting or removing fuel in a "nuclear reactor";

d.	Control rods specially designed or prepared for the control of the fission process in a "nuclear reactor", support or suspension structures therefor, rod drive mechanisms and rod guide tubes;

e.	Pressure tubes specially designed or prepared to contain fuel elements and the primary coolant in a "nuclear reactor" at an operating pressure in excess of 5.1 MPa;

f.	Zirconium metal and alloys in the form of tubes or assemblies of tubes in which the ratio of hafnium to zirconium is less than 1:500 parts by weight, specially designed or prepared for use in a "nuclear reactor";

g.	Coolant pumps specially designed or prepared for circulating the primary coolant of "nuclear reactors";

h.	'Nuclear reactor internals' specially designed or prepared for use in a "nuclear reactor", including support columns for the core, fuel channels, thermal shields, baffles, core grid plates, and diffuser plates;

Note:	In 0A001.h. 'nuclear reactor internals' means any major structure within a reactor vessel which has one or more functions such as supporting the core, maintaining fuel alignment, directing primary coolant flow, providing radiation shields for the reactor vessel, and guiding in-core instrumentation.

i.	Heat exchangers (steam generators) specially designed or prepared for use in the primary coolant circuit of a "nuclear reactor";

j.	Neutron detection and measuring instruments specially designed or prepared for determining neutron flux levels within the core of a "nuclear reactor".

0B	Test, Inspection and Production Equipment

0B001	Plant for the separation of isotopes of "natural uranium", "depleted uranium" and "special fissile materials", and specially designed or prepared equipment and components therefor, as follows:

a.	Plant specially designed for separating isotopes of "natural uranium", "depleted uranium", and "special fissile materials", as follows:

1.	Gas centrifuge separation plant;

2.	Gaseous diffusion separation plant;

3.	Aerodynamic separation plant;

4.	Chemical exchange separation plant;

5.	Ion-exchange separation plant;

6.	Atomic vapour "laser" isotope separation (AVLIS) plant;

7.	Molecular "laser" isotope separation (MLIS) plant;

8.	Plasma separation plant;

9.	Electro magnetic separation plant;

b.	Gas centrifuges and assemblies and components, specially designed or prepared for gas centrifuge separation process, as follows:

Note:	In 0B001.b. 'high strength-to-density ratio material' means any of the following:

a.	Maraging steel capable of an ultimate tensile strength of 2,050 MPa or more;

b.	Aluminium alloys capable of an ultimate tensile strength of 460 MPa or more; or

c.	"Fibrous or filamentary materials" with a "specific modulus" of more than 3.18 x 106 m and a "specific tensile strength" greater than 76.2 x 103 m;

1.	Gas centrifuges;

2.	Complete rotor assemblies;

3.	Rotor tube cylinders with a wall thickness of 12 mm or less, a diameter of between 75 mm and 400 mm, made from 'high strength-to-density ratio materials';

4.	Rings or bellows with a wall thickness of 3 mm or less and a diameter of between 75 mm and 400 mm and designed to give local support to a rotor tube or to join a number together, made from 'high strength-to-density ratio materials';

5.	Baffles of between 75 mm and 400 mm diameter for mounting inside a rotor tube, made from 'high strength-to-density ratio materials'.

6.	Top or bottom caps of between 75 mm and 400 mm diameter to fit the ends of a rotor tube, made from 'high strength-to-density ratio materials';

7.	Magnetic suspension bearings consisting of an annular magnet suspended within a housing made of or protected by "materials resistant to corrosion by UF6" containing a damping medium and having the magnet coupling with a pole piece or second magnet fitted to the top cap of the rotor;

8.	Specially prepared bearings comprising a pivot-cup assembly mounted on a damper;

9.	Molecular pumps comprised of cylinders having internally machined or extruded helical grooves and internally machined bores;

10.	Ring-shaped motor stators for multiphase AC hysteresis (or reluctance) motors for synchronous operation within a vacuum in the frequency range of 600 to 2,000 Hz and a power range of 50 to 1,000 Volt-Amps;

11.	Centrifuge housing/recipients to contain the rotor tube assembly of a gas centrifuge, consisting of a rigid cylinder of wall thickness up to 30 mm with precision machined ends and made of or protected by "materials resistant to corrosion by UF6";

12.	Scoops consisting of tubes of up to 12 mm internal diameter for the extraction of UF6 gas from within a centrifuge rotor tube by a Pitot tube action, made of or protected by "materials resistant to corrosion by UF6";

13.	Frequency changers (converters or inverters) specially designed or prepared to supply motor stators for gas centrifuge enrichment, having all of the following characteristics, and specially designed components therefor:

a.	Multiphase output of 600 to 2,000 Hz;

b.	Frequency control better than 0.1%;

c.	Harmonic distortion of less than 2%; and

d.	An efficiency greater than 80%;

c.	Equipment and components, specially designed or prepared for gaseous diffusion separation process, as follows:

1.	Gaseous diffusion barriers made of porous metallic, polymer or ceramic "materials resistant to corrosion by UF6" with a pore size of 10 to 100 nm, a thickness of 5 mm or less, and, for tubular forms, a diameter of 25 mm or less;

2.	Gaseous diffuser housings made of or protected by "materials resistant to corrosion by UF6";

3.	Compressors (positive displacement, centrifugal and axial flow types) or gas blowers with a suction volume capacity of 1 m3/min or more of UF6, and discharge pressure up to 666.7 kPa, made of or protected by "materials resistant to corrosion by UF6";

4.	Rotary shaft seals for compressors or blowers specified in 0B001.c.3. and designed for a buffer gas in-leakage rate of less than 1,000 cm3/min.;

5.	Heat exchangers made of aluminium, copper, nickel, or alloys containing more than 60 per cent nickel, or combinations of these metals as clad tubes, designed to operate at sub-atmospheric pressure with a leak rate that limits the pressure rise to less than 10 Pa per hour under a  pressure differential of 100 kPa;

6.	Bellow valves made of or protected by "materials resistant to corrosion by UF6", with a diameter of 40 mm to 1,500 mm;

d.	Equipment and components, specially designed or prepared for aerodynamic separation process, as follows:

1.	Separation nozzles consisting of slit-shaped, curved channels having a radius of curvature less than 1 mm, resistant to corrosion by UF6 , and having a knife-edge contained within the nozzle which separates the gas flowing through the nozzle into two streams;

2.	Tangential inlet flow-driven cylindrical or conical tubes, (vortex tubes), made of or protected by "materials resistant to corrosion by UF6" with a diameter of between 0.5 cm and 4 cm and a length to diameter ratio of 20:1 or less and with one or more tangential inlets;

3.	Compressors (positive displacement, centrifugal and axial flow types) or gas blowers with a suction volume capacity of 2 m3/min or more, made of or protected by "materials resistant to corrosion by UF6", and rotary shaft seals therefor;

4.	Heat exchangers made of or protected by "materials resistant to corrosion by UF6";

5.	Aerodynamic separation element housings, made of or protected by "materials resistant to corrosion by UF6" to contain vortex tubes or separation nozzles;

6.	Bellows valves made of or protected by "materials resistant to corrosion by UF6", with a diameter of 40 to 1,500 mm;

7.	Process systems for separating UF6 from carrier gas (hydrogen or helium) to 1 ppm UF6 content or less, including:

a.	Cryogenic heat exchangers and cryoseparators capable of temperatures of 153K (-120°C) or less;

b.	Cryogenic refrigeration units capable of temperatures of 153 K (-120°C) or less;

c.	Separation nozzle or vortex tube units for the separation of UF6 from carrier gas;

d.	UF6 cold traps capable of temperatures of 253 K (-20°C) or less;

e.	Equipment and components, specially designed or prepared for chemical exchange separation process, as follows:

1.	Fast-exchange liquid-liquid pulse columns with stage residence time of 30 seconds or less and resistant to concentrated hydrochloric acid (e.g. made of or protected by suitable plastic materials such as fluorocarbon polymers or glass);

2.	Fast-exchange liquid-liquid centrifugal contactors with stage residence time of 30 seconds or less and resistant to concentrated hydrochloric acid,(e.g. made of or protected by suitable plastic materials such as fluorocarbon polymers or glass);

3.	Electrochemical reduction cells resistant to concentrated hydrochloric acid solutions, for reduction of uranium from one valence state to another;

4.	Electrochemical reduction cells feed equipment to take U+4 from the organic stream and, for those parts in contact with the process stream, made of or protected by suitable materials (e.g. glass, fluorocarbon polymers, polyphenyl sulphate, polyether sulfone and resin-impregnated graphite);

5.	Feed preparation systems for producing high purity uranium chloride solution consisting of dissolution, solvent extraction and/or ion exchange equipment for purification and electrolytic cells for reducing the uranium U+6 or U+4 to U+3;

6.	Uranium oxidation systems for oxidation of U+3 to U+4;

f.	Equipment and components, specially designed or prepared for ion-exchange separation process, as follows:

1.	Fast reacting ion-exchange resins, pellicular or porous macro-reticulated resins in which the active chemical exchange groups are limited to a coating on the surface of an inactive porous support structure, and other composite structures in any suitable form, including particles or fibres, with diameters of 0.2 mm or less, resistant to concentrated hydrochloric acid and designed to have an exchange rate half-time of less than 10 seconds and capable of operating at temperatures in the range of 373 K (100oC) to 473 K (200oC);

2.	Ion exchange columns (cylindrical) with a diameter greater than 1,000 mm, made of or protected by materials resistant to concentrated hydrochloric acid (e.g. titanium or fluorocarbon plastics) and capable of operating at temperatures in the range of 373 K (100oC) to 473 K (200oC) and pressures above 0.7 MPa;

3.	Ion exchange reflux systems (chemical or electrochemical oxidation or reduction systems) for regeneration of the chemical reducing or oxidizing agents used in ion exchange enrichment cascades;

g.	Equipment and components, specially designed or prepared for atomic vapour "laser" isotope separation process (AVLIS), as follows:

1.	High power strip or scanning electron beam guns with a delivered power of more than 2.5 kW/cm for use in uranium vaporization systems;

2.	Liquid uranium metal handling systems for molten uranium or uranium alloys, consisting of crucibles, made of or protected by suitable corrosion and heat resistant materials (e.g. tantalum, yttria-coated graphite, graphite coated with other rare earth oxides or mixtures thereof), and cooling equipment for the crucibles;

N.B.:    SEE ALSO 2A225.

3.	Product and tails collector systems made of or lined with materials resistant to the heat and corrosion of uranium metal vapour or liquid, such as yttria-coated graphite or tantalum;

4.	Separator module housings (cylindrical or rectangular vessels) for containing the uranium metal vapour source, the electron beam gun and the product and tails collectors;

5.	"Lasers" or "laser" systems for the separation of uranium isotopes with a spectrum frequency stabiliser for operation over extended periods of time;

N.B.:     SEE ALSO 6A005 AND 6A205.

h.	Equipment and components, specially designed or prepared for molecular "laser" isotope separation process (MLIS) or chemical reaction by isotope selective laser activation (CRISLA), as follows:

1.	Supersonic expansion nozzles for cooling mixtures of UF6 and carrier gas to 150 K (-123°C) or less and made from "materials resistant to corrosion by UF6";

2.	Uranium pentafluoride (UF5) product collectors consisting of filter, impact, or cyclone-type collectors or combinations thereof, and made of "materials resistant to corrosion by UF5/UF6";

3.	Compressors made of or protected by "materials resistant to corrosion by UF6", and rotary shaft seals therefor;

4.	Equipment for fluorinating UF5 (solid) to UF6 (gas);

5.	Process systems for separating UF6 from carrier gas (e.g. nitrogen or argon) including:

a.	Cryogenic heat exchangers and cryoseparators capable of temperatures of 153 K (-120°C) or less;

b.	Cryogenic refrigeration units capable of temperatures of 153 K (-120°C) or less;

c.	UF6 cold traps capable of temperatures of 253 K (-20°C) or less;

6.	"Lasers" or "laser" systems for the separation of uranium isotopes with a spectrum frequency stabiliser for operation over extended periods of time;

N.B.:    SEE ALSO 6A005 AND 6A205.

i.	Equipment and components, specially designed or prepared for plasma separation process, as follows:

1.	Microwave power sources and antennae for producing or accelerating ions, with an output frequency greater than 30 GHz and mean power output greater than 50 kW;

2.	Radio frequency ion excitation coils for frequencies of more than 100 kHz and capable of handling more than 40 kW mean power;

3.	Uranium plasma generation systems;

4.	Liquid metal handling systems for molten uranium or uranium alloys, consisting of crucibles, made of or protected by suitable corrosion and heat resistant materials (e.g. tantalum, yttria-coated graphite, graphite coated with other rare earth oxides or mixtures thereof), and cooling equipment for the crucibles;

N.B.:    SEE ALSO 2A225.

5.	Product and tails collectors made of or protected by materials resistant to the heat and corrosion of uranium vapour such as yttria-coated graphite or tantalum;

6.	Separator module housings (cylindrical) for containing the uranium plasma source, radio-frequency drive coil and the product and tails collectors and made of a suitable non-magnetic material (e.g. stainless steel);

j.	Equipment and components, specially designed or prepared for electromagnetic separation process, as follows:

1.	Ion sources, single or multiple, consisting of a vapour source, ioniser, and beam accelerator made of suitable non-magnetic materials (e.g., graphite, stainless steel, or copper) and capable of providing a total ion beam current of 50 mA or greater;

2.	Ion collector plates for collection of enriched or depleted uranium ion beams, consisting of two or more slits and pockets and made of suitable non-magnetic materials (e.g. graphite or stainless steel);

3.	Vacuum housings for uranium electromagnetic separators made of non-magnetic materials (e.g. stainless steel) and designed to operate at pressures of 0.1 Pa or lower;

4.	Magnet pole pieces with a diameter greater than 2 m;

5.	High voltage power supplies for ion sources, having all of the following characteristics:

a.	Capable of continuous operation;

b.	Output voltage of 20,000 V or greater;

c.	Output current of 1 A or greater; and

d.	Voltage regulation of better than 0.01% over a period of 8 hours;

N.B.:    SEE ALSO 3A227.

6.	Magnet power supplies (high power, direct current) having all of the following characteristics:

a.	Capable of continuous operation with a current output of 500 A or greater at a voltage of 100 V or greater; and

b.	Current or voltage regulation better than 0.01% over a period of 8 hours.

N.B.:    SEE ALSO 3A226.

0B002	Specially designed or prepared auxiliary systems, equipment and components, as follows, for isotope separation plant specified in 0B001, made of or protected by "materials resistant to corrosion by UF6":

a.	Feed autoclaves, ovens or systems used for passing UF6 to the enrichment process;

b.	Desublimers or cold traps, used to remove UF6 from the enrichment process for subsequent transfer upon heating;

c.	Product and tails stations for transferring UF6 into containers;

d.	Liquefaction or solidification stations used to remove UF6 from the enrichment process by compressing, cooling and converting UF6 to a liquid or solid form;

e.	Piping systems and header systems specially designed for handling UF6 within gaseous diffusion, centrifuge or aerodynamic cascades;

f.	1.	Vacuum manifolds or vacuum headers having a suction capacity of 5 m3/minute or more; or

2.	Vacuum pumps specially designed for use in UF6 bearing atmospheres;

g.	UF6 mass spectrometers/ion sources specially designed or prepared for taking on-line samples of feed, product or tails from UF6 gas streams and having all of the following characteristics:

1.	Unit resolution for mass of more than 320 amu;

2.	Ion sources constructed of or lined with nichrome or monel, or nickel plated;

3.	Electron bombardment ionisation sources; and

4.	Collector system suitable for isotopic analysis.

0B003	Plant for the conversion of uranium and equipment specially designed or prepared therefor, as follows:

a.	Systems for the conversion of uranium ore concentrates to UO3;

b.	Systems for the conversion of UO3 to UF6;

c.	Systems for the conversion of UO3 to UO2;

d.	Systems for the conversion of UO2 to UF4;

e.	Systems for the conversion of UF4 to UF6;

f.	Systems for the conversion of UF4 to uranium metal;

g.	Systems for the conversion of UF6 to UO2;

h.	Systems for the conversion of UF6 to UF4.

0B004	Plant for the production or concentration of heavy water, deuterium and deuterium compounds and specially designed or prepared equipment and components therefor, as follows:

a.	Plant for the production of heavy water, deuterium or deuterium compounds, as follows:

1.	Water-hydrogen sulphide exchange plants;

2.	Ammonia-hydrogen exchange plants;

b.	Equipment and components, as follows:

1.	Water-hydrogen sulphide exchange towers fabricated from fine carbon steel (e.g. ASTM A516) with diameters of 6 m to 9 m, capable of operating at pressures greater than or equal to 2 MPa and with a corrosion allowance of 6 mm or greater;

2.	Single stage, low head (i.e. 0.2 MPa) centrifugal blowers or compressors for hydrogen sulphide gas circulation (i.e. gas containing more than 70% H2S) with a throughput capacity greater than or equal to 56 m3/second when operating at pressures greater than or equal to 1.8 MPa suction and having seals designed for wet H2S service;

3.	Ammonia-hydrogen exchange towers greater than or equal to 35 m in height with diameters of 1.5 m to 2.5 m capable of operating at pressures greater than 15 MPa;

4.	Tower internals, including stage contactors, and stage pumps, including those which are submersible, for heavy water production utilizing the ammonia-hydrogen exchange process;

5.	Ammonia crackers with operating pressures greater than or equal to 3 MPa for heavy water production utilizing the ammonia-hydrogen exchange process;

6.	Infrared absorption analysers capable of on-line hydrogen/deuterium ratio analysis where deuterium concentrations are equal to or greater than 90%;

7.	Catalytic burners for the conversion of enriched deuterium gas into heavy water utilizing the ammonia-hydrogen exchange process;

8.	Complete heavy water upgrade systems, or columns therefor, for the upgrade of heavy water to reactor-grade deuterium concentration.

0B005	Plant specially designed for the fabrication of "nuclear reactor" fuel elements and specially designed or prepared equipment therefor.

Note:	A plant for the fabrication of "nuclear reactor" fuel elements includes equipment which:

a.	Normally comes into direct contact with or directly processes or controls the production flow of nuclear materials;

b.	Seals the nuclear materials within the cladding;

c.	Checks the integrity of the cladding or the seal; or

d.	Checks the finish treatment of the solid fuel.

0B006	Plant for the reprocessing of irradiated "nuclear reactor" fuel elements, and specially designed or prepared equipment and components therefor.

Note:	0B006 includes:

a.	Plant for the reprocessing of irradiated "nuclear reactor" fuel elements including equipment and components which normally come into direct contact with and directly control the irradiated fuel and the major nuclear material and fission product processing streams;

b.	Fuel element chopping or shredding machines, i.e. remotely operated equipment to cut, chop, shred or shear irradiated "nuclear reactor" fuel assemblies, bundles or rods;

c.	Dissolvers, critically safe tanks (e.g. small diameter, annular or slab tanks) specially designed or prepared for the dissolution of irradiated "nuclear reactor" fuel, which are capable of withstanding hot, highly corrosive liquids, and which can be remotely loaded and maintained;

d.	Counter-current solvent extractors and ion-exchange processing equipment specially designed or prepared for use in a plant for the reprocessing of irradiated "natural uranium", "depleted uranium" or "special fissile materials";

e.	Holding or storage vessels specially designed to be critically safe and resistant to the corrosive effects of nitric acid;

Note:	Holding or storage vessels may have the following features:

1.	Walls or internal structures with a boron equivalent (calculated for all constituent elements as defined in the note to 0C004) of at least two per cent;

2.	A maximum diameter of 175 mm for cylindrical vessels; or

3.	A maximum width of 75 mm for either a slab or annular vessel.

f.	Complete systems specially designed or prepared for the conversion of plutonium nitrate to plutonium oxide;

g.	Complete systems specially designed or prepared for the production of plutonium metal;

h.	Process control instrumentation specially designed or prepared for monitoring or controlling the reprocessing of irradiated "natural uranium", "depleted uranium" or "special fissile materials".

0C	Materials

0C001	Reserved

0C002	Reserved

0C003	Deuterium, heavy water (deuterium oxide) and other compounds of deuterium, and mixtures and solutions containing deuterium, in which the isotopic ratio of deuterium to hydrogen exceeds 1:5,000.

0C004	Graphite, nuclear grade, having a purity level of less than 5 parts per million 'boron equivalent' and with a density greater than 1.5 g/cm3.

N.B.:	SEE ALSO 1C107

Note 1:	0C004 does not control the following:

a.	Manufactures of graphite having a mass less than 1 kg, other than those specially designed or prepared for use in a nuclear reactor;

b.	Graphite powder.

Note 2:	In 0C004, 'boron equivalent' (BE) is defined as the sum of BEz for impurities (excluding BEcarbon since carbon is not considered an impurity) including boron, where:

BEz (ppm) = CF x concentration of element Z in ppm;

Z AB

where CF is the conversion factor    =	-------

B AZ

and B  and Z  are the thermal neutron capture cross sections (in barns) for naturally occurring boron and element Z respectively; and AB and AZ are the atomic masses of naturally occurring boron and element Z respectively.

0C005	Specially prepared compounds or powders for the manufacture of gaseous diffusion barriers, resistant to corrosion by UF6 (e.g. nickel or alloy containing 60 weight per cent or more nickel, aluminium oxide and fully fluorinated hydrocarbon polymers), having a purity of 99.9 weight per cent or more and a mean particle size of less than 10 micrometres measured by American Society for Testing and Materials (ASTM) B330 standard and a high degree of particle size uniformity.

0D	Software

0D001	"Software" specially designed or modified for the "development", "production" or "use" of goods specified in this Category.

0E	Technology

0E001	"Technology" according to the Nuclear Technology Note for the "development", "production" or "use" of goods specified in this Category.